## Intro BSL
BSL HAEMATOLOGY TEST DICTIONARY - GSTT Author: Janet Okafor/Saidat Turawa /BSL-GST-HAEM-INST1 /Version 1.0/ Issued Jan 2025 /Authorised : Prof Beverley Hunt (Consultant Lead Clinical Haematology & Synnovis Strategic Lead) & Saidat Turawa (Haematology Operations Manager)

## Haem
Haematology Test Dictionary
Lab | Test | Sample_type | Min_samp_vol | Requirements | Turnaround_time | Reference_range | Sample Stability Time | Notes
BSL Haem | Blood Film | Whole blood collected into EDTA anticoagulant |  | Sample should be less than 24 hours old. Avoid direct heat | 24 HOURS | N/A | Sample should be less than 24 hours old;
BSL Haem | Bone Marrow Aspirate | Bone marrow slides |  | Send to laboratory as soon as possible. | Routine: 5 working days; Urgent: Contact the Laboratory | N/A | N/A | Interfering factors: Poor slide preparation technique. Report will be issued with appropriate/relevant comments.
BSL Haem | Carboxyhaemoglobin | Whole blood collected into EDTA anticoagulant |  | Store at room temperature and deliver to the laboratory for testing within 24h post collection | 24 HOURS | Refer to EPIC results/ ranges on report for age & sex-specific ranges | 24 HOURS | TEST REFERRED TO KCH - BIOCHEM
BSL Haem | Citrated Platelet Count | Whole Blood collected in Citrate bottle. (Blue Top) | 4 mL or 2 mL on paediatric bottles; | Keep at room temperature; Do not expose to extreme temperatures; Sample stability: samples should be sent to the laboratory as soon as possible, never after 24h post collection. | Routine: 1 day; Urgent: Contact the Laboratory. | N/A | 24 HOURS | Always ensure that the bottle is filled up to the mark. Interfering factors: Insufficient volume (ensure bottle is filled up to the mark); Aged sample; Clotted sample; Giant Platelets; Please note that the laboratory may be unable to provide results whenever any of these factors interfere with the technical validity of the results; Report will be issued with an appropriate comment.
BSL Haem | Erythrocyte Sedimentation Rate (ESR) | Whole Blood collected in EDTA bottle. (Purple Top) | 1.5mL | Keep at room temperature; Do not expose to extreme temperatures; Sample stability: samples must arrive to the laboratory and be processed within 24h post collection. | Routine: 1 day; Urgent: Contact the Laboratory. | Refer to EPIC results/ ranges on report for age & sex-specific ranges | 24 HOURS | Interfering factors: Gross Lipaemia; Gross Jaundice; Haemolysis; Insufficient volume; Aged sample; Clotted sample; Cold Agglutinins; Please note that the laboratory may be unable to provide results whenever any of these factors interfere with the technical validity of the results; Report will be issued with an appropriate comment.
BSL Haem | Full Blood Count (FBC) | Peripheral whole blood collected into K2EDTA (Di-potassium EDTA) or K3EDTA (Tri-potassium EDTA) anti-coagulated samples. | Minimum volume 1mL; Minimum volume for paediatric tubes - 500uL | For patients with known Cold Agglutinins: Keep sample at 37°C from collection to processing. | Routine: 1 day; Urgent: Contact the Laboratory. | Refer to EPIC results/ ranges on report for age & sex-specific ranges | 24 HOURS | Keep at room temperature; Do not expose to extreme temperatures; Sample stability: samples must arrive to the laboratory and be processed as soon as possible after collection, within 24h post collection. For patients with known Cold Agglutinins: Keep sample at 37°C from collection to processing.
BSL Haem | Malaria Screening and Confirmation | Whole Blood collected in EDTA bottle. (Purple Top) | 1.0 mL | Keep at room temperature; Do not expose to extreme temperatures; Sample stability: samples must arrive to the laboratory and be processed within 24h post collection. | 2 hours - this is always deemed an urgent test. | N/A | 24 HOURS | Interfering factors: Haemolysis; Insufficient volume; Aged sample; Clotted sample; Please note that the laboratory may be unable to provide results whenever any of these factors interfere with the technical validity of the results; Report will be issued with an appropriate comment
BSL Haem | Methaemoglobin | Whole blood collected into EDTA anticoagulant |  | EDTA | Within 24 hours | Refer to EPIC results/ ranges on report for age & sex-specific ranges
BSL Haem | Other blood parasite | Whole blood collected into EDTA anticoagulant | 1.0ml | Sample should be less than 24 hours old Please include information on recent travel history on request. | Test performed 24*7 hours; Results available within 24 hours (species identification may take up to 5 days) | N/A | 24 HOURS
BSL Haem | Paul Bunnell TesI - Infectious Mononucleosis (IM) | Whole Blood collected in EDTA bottle. (Purple Top) | 1.0 mL | Keep at room temperature; Do not expose to extreme temperatures; Sample stability: samples must arrive to the laboratory and be processed within 24h post collection. | Routine: 1 day; Urgent: Contact the Laboratory. | N/A | 24 HOURS | Interfering factors: Gross Haemolysis; Insufficient volume; Aged sample; Please note that the laboratory may be unable to provide results whenever any of these factors interfere with the technical validity of the results; Report will be issued with an appropriate comment.
BSL Haem | Plasma Viscosity | Whole Blood collected in EDTA bottle. (Purple Top) Plasma. (separated from EDTA bottle) | 1.5mL; 1.0mL for paediatric samples. | Keep at room temperature; Do not expose to extreme temperatures; Sample stability: samples must arrive to the laboratory and be processed within 24h post collection. Samples from external sources: EDTA sample must be centrifuged for 10 minutes at 3,500 rpm and plasma separated within 24 hours of collection. Plasma samples have 7 day validity. | Routine: 3 days; Urgent: 1 day. Contact the laboratory. | Refer to EPIC results/ ranges on report for age & sex-specific ranges | 24 HOURS | Interfering factors: Haemolysis; Insufficient volume; Aged sample; Clotted sample; Please note that the laboratory may be unable to provide results whenever any of these factors interfere with the technical validity of the results; Report will be issued with an appropriate comment.
BSL Haem | Reticulocyte Count | Peripheral whole blood collected into K2EDTA (Di-potassium EDTA) or K3EDTA (Tri-potassium EDTA) anti-coagulated samples. | Minimum volume 1mL; Minimum volume for paediatric tubes - 500uL | For patients with known Cold Agglutinins: Keep sample at 37°C from collection to processing. Keep at room temperature; Do not expose to extreme temperatures; Sample stability: samples must arrive to the laboratory and processed as soon as possible after collection, within 24h post collection. For patients with known Cold Agglutinins: Keep sample at 37°C from collection to processing. | Routine: 1 day; Urgent: Contact the Laboratory. | Refer to EPIC results/ ranges on report for age & sex-specific ranges | 24 HOURS
BSL Haem | Urinary Haemosiderin | Urine; An early morning urine sample should be taken for testing. | 1ml | Send to laboratory as soon as possible; delays in transportation may lead to bacterial contamination. | Routine: 5 working days; Urgent: Contact the Laboratory. | N/A | 24 HOURS | Interfering factors: Bacterial contamination; Insufficient volume; Please note that the laboratory may be unable to provide results whenever any of these factors interfere with the technical validity of the results; Report will be issued with an appropriate comment.
BSL Haem | Vacuolated Lymphocytes | Whole blood collected in EDTA. Peripheral blood smear prepared from Whole Blood EDTA. | Minimum sample volume: 500µL | Sendaway test (GOSH). EDTA. It should be analysed within 24 hours after collection. When this is not possible sample must be stored between 2-8ºC. | 2 weeks | N/A | 24 HOURS